## Sheet1
Illumination |  | Filter | Camera | Pbv static | Pbv update |  | Filter | Camera | Pbv static | Pbv update
Tungsten-halogen | Chan 1 | BN470 | IMX264 mono | 0.69659 | 0.0012843 | Chan 1 | Uniform | IMX264 Red
| Chan 2 | BN660 | IMX264 mono | 0.67778 | -0.014161 | Chan 2 | Uniform | IMX264 Green
| Chan 3 | BP880 | IMX264 mono | 1 | 0.0024174 | Chan 3 | Uniform | IMX264 Blue | [10 empty] | PBV calculations set 1
[19 empty] | SpO2 100% |  |  | SpO2 90% |  |  | SpO2 80% |  |  | SpO2 70%
[19 empty] | Static pulse signature vector |  |  | pulse signature update vector
[19 empty] | 0.69659 | 0.67778 | 1 | 0.0013065 | -0.013588 | 0.0022685 | 0.0012751 | -0.01415 | 0.0023962 | 0.0012712 | -0.014745 | 0.0025876
integral over wavelengths
Wavelength (nm) | Filter response (Transmission %) |  |  |  |  | Camera sensitivity (relative response) |  |  |  |  | Illumination spectrum |  |  |  | PPG spectrum (relative amplitude) |  |  |  | 44.9211 | 43.708 | 64.487 | 45.7636 | 34.9456 | 65.9498 | 46.5657 | 25.4583 | 67.5774 | 47.3803 | 15.1831 | 69.493 | PBV source data set 1
| BN470 | BN660 | BN810 | BP880 | Uniform | IMX264 mono | IMX265 Red | IMX265 Green | IMX265 Blue |  | Tungsten-halogen | Sunlight | Cool white LED | Warm white LED | SpO2 100% | SpO2 90% | SpO2 80% | SpO2 70% | Cam-filter 1 | Cam-filter 2 | Cam-filter 3 | Cam-filter 1 | Cam-filter 2 | Cam-filter 3 | Cam-filter 1 | Cam-filter 2 | Cam-filter 3 | Cam-filter 1 | Cam-filter 2 | Cam-filter 3 | illum index match | filter index match 1 | camera index match 1 | filter index match 2 | camera index match 2 | filter index match 3 | camera index match 3
400 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.0728 | 0.058 | 0.34643 |  | 0.070507 | 0.65891 | 0.008 | 0.0065484 | 0.39838 | 0.3887 | 0.39173 | 0.39035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.070507 | 0 | 0.5 | 0 | 0.5 | 0 | 0.5
410 | 0 | 0 | 0 | 0 | 1 | 0.55923 | 0.055206 | 0.046887 | 0.41679 |  | 0.084691 | 0.70696 | 0.010394 | 0.01109 | 0.40348 | 0.40026 | 0.40252 | 0.40392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.084691 | 0 | 0.55923 | 0 | 0.55923 | 0 | 0.55923
420 | 0 | 0 | 0 | 0 | 1 | 0.61683 | 0.043652 | 0.043053 | 0.49085 |  | 0.10027 | 0.69767 | 0.025188 | 0.044846 | 0.42733 | 0.42978 | 0.42669 | 0.42897 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10027 | 0 | 0.61683 | 0 | 0.61683 | 0 | 0.61683
430 | 0 | 0 | 0 | 0 | 1 | 0.66773 | 0.03491 | 0.040563 | 0.55771 |  | 0.11587 | 0.73075 | 0.13995 | 0.085151 | 0.46008 | 0.46565 | 0.47255 | 0.49018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11587 | 0 | 0.66773 | 0 | 0.66773 | 0 | 0.66773
440 | 25 | 0 | 0 | 0 | 1 | 0.71154 | 0.027827 | 0.044134 | 0.611 |  | 0.13453 | 0.85778 | 0.46047 | 0.10208 | 0.54278 | 0.55167 | 0.5586 | 0.56832 | 1.299 | 0 | 0 | 1.3202 | 0 | 0 | 1.3368 | 0 | 0 | 1.3601 | 0 | 0 | 0.13453 | 25 | 0.71154 | 0 | 0.71154 | 0 | 0.71154
450 | 70 | 0 | 0 | 0 | 1 | 0.74449 | 0.021632 | 0.05191 | 0.64499 |  | 0.15213 | 0.93792 | 0.90332 | 0.082941 | 0.59725 | 0.60241 | 0.60162 | 0.6049 | 4.7349 | 0 | 0 | 4.7758 | 0 | 0 | 4.7696 | 0 | 0 | 4.7956 | 0 | 0 | 0.15213 | 70 | 0.74449 | 0 | 0.74449 | 0 | 0.74449
460 | 85 | 0 | 0 | 0 | 1 | 0.77093 | 0.01983 | 0.10251 | 0.65619 |  | 0.17196 | 0.97179 | 0.89692 | 0.059779 | 0.57504 | 0.58425 | 0.59704 | 0.60836 | 6.4797 | 0 | 0 | 6.5835 | 0 | 0 | 6.7277 | 0 | 0 | 6.8553 | 0 | 0 | 0.17196 | 85 | 0.77093 | 0 | 0.77093 | 0 | 0.77093
470 | 90 | 0 | 0 | 0 | 1 | 0.79354 | 0.01983 | 0.28364 | 0.62668 |  | 0.19388 | 1 | 0.62191 | 0.049157 | 0.54509 | 0.56341 | 0.57919 | 0.59436 | 7.5479 | 0 | 0 | 7.8015 | 0 | 0 | 8.0201 | 0 | 0 | 8.2301 | 0 | 0 | 0.19388 | 90 | 0.79354 | 0 | 0.79354 | 0 | 0.79354
480 | 85 | 0 | 0 | 0 | 1 | 0.81381 | 0.01983 | 0.53893 | 0.56827 |  | 0.21797 | 0.97738 | 0.45753 | 0.046127 | 0.53035 | 0.54645 | 0.56006 | 0.57494 | 7.9965 | 0 | 0 | 8.2391 | 0 | 0 | 8.4444 | 0 | 0 | 8.6687 | 0 | 0 | 0.21797 | 85 | 0.81381 | 0 | 0.81381 | 0 | 0.81381
490 | 90 | 0 | 0 | 0 | 1 | 0.83597 | 0.01983 | 0.7089 | 0.47929 |  | 0.23641 | 0.95069 | 0.35228 | 0.056337 | 0.52802 | 0.53674 | 0.54724 | 0.55632 | 9.3918 | 0 | 0 | 9.5469 | 0 | 0 | 9.7337 | 0 | 0 | 9.8952 | 0 | 0 | 0.23641 | 90 | 0.83597 | 0 | 0.83597 | 0 | 0.83597
500 | 50 | 0 | 0 | 0 | 1 | 0.85887 | 0.01983 | 0.81459 | 0.37745 |  | 0.26118 | 0.95897 | 0.33762 | 0.10144 | 0.54001 | 0.5433 | 0.54676 | 0.55162 | 6.0566 | 0 | 0 | 6.0935 | 0 | 0 | 6.1323 | 0 | 0 | 6.1868 | 0 | 0 | 0.26118 | 50 | 0.85887 | 0 | 0.85887 | 0 | 0.85887
510 | 10 | 0 | 0 | 0 | 1 | 0.88436 | 0.01983 | 0.87017 | 0.27831 |  | 0.28526 | 0.93084 | 0.40528 | 0.19201 | 0.56075 | 0.55614 | 0.55537 | 0.5504 | 1.4146 | 0 | 0 | 1.403 | 0 | 0 | 1.401 | 0 | 0 | 1.3885 | 0 | 0 | 0.28526 | 10 | 0.88436 | 0 | 0.88436 | 0 | 0.88436
520 | 0 | 0 | 0 | 0 | 1 | 0.90972 | 0.025937 | 0.90445 | 0.19768 |  | 0.31062 | 0.91429 | 0.49419 | 0.40464 | 0.62073 | 0.61253 | 0.61411 | 0.60846 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31062 | 0 | 0.90972 | 0 | 0.90972 | 0 | 0.90972
530 | 0 | 0 | 0 | 0 | 1 | 0.93257 | 0.036339 | 0.92606 | 0.14269 |  | 0.33751 | 0.95222 | 0.5266 | 0.63929 | 0.72147 | 0.72935 | 0.73399 | 0.74029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33751 | 0 | 0.93257 | 0 | 0.93257 | 0 | 0.93257
540 | 0 | 0 | 0 | 0 | 1 | 0.94843 | 0.051531 | 0.92844 | 0.10389 |  | 0.36289 | 0.95073 | 0.53413 | 0.8077 | 0.78065 | 0.7878 | 0.79155 | 0.79631 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36289 | 0 | 0.94843 | 0 | 0.94843 | 0 | 0.94843
550 | 0 | 0 | 0 | 0 | 1 | 0.96194 | 0.060393 | 0.90606 | 0.073185 |  | 0.38828 | 0.94196 | 0.52709 | 0.90807 | 0.78932 | 0.78819 | 0.78745 | 0.78273 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38828 | 0 | 0.96194 | 0 | 0.96194 | 0 | 0.96194
560 | 0 | 0 | 0 | 0 | 1 | 0.97275 | 0.055253 | 0.87711 | 0.050539 |  | 0.41516 | 0.92208 | 0.51388 | 0.94091 | 0.78119 | 0.77007 | 0.7579 | 0.74368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.41516 | 0 | 0.97275 | 0 | 0.97275 | 0 | 0.97275
570 | 0 | 0 | 0 | 0 | 1 | 0.98375 | 0.044195 | 0.83158 | 0.037298 |  | 0.44205 | 0.90418 | 0.47587 | 0.93792 | 0.81859 | 0.82081 | 0.81864 | 0.8228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.44205 | 0 | 0.98375 | 0 | 0.98375 | 0 | 0.98375
580 | 0 | 0 | 0 | 0 | 1 | 0.99487 | 0.036763 | 0.76757 | 0.023222 |  | 0.46894 | 0.86456 | 0.41902 | 0.88429 | 0.83248 | 0.85211 | 0.86035 | 0.868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46894 | 0 | 0.99487 | 0 | 0.99487 | 0 | 0.99487
590 | 0 | 0 | 0 | 0 | 1 | 0.99969 | 0.039973 | 0.65624 | 0.024455 |  | 0.49637 | 0.86962 | 0.36558 | 0.81388 | 0.64621 | 0.6372 | 0.6226 | 0.59542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.49637 | 0 | 0.99969 | 0 | 0.99969 | 0 | 0.99969
600 | 0 | 0 | 0 | 0 | 1 | 0.99896 | 0.11003 | 0.51925 | 0.01647 |  | 0.52135 | 0.89925 | 0.3134 | 0.74953 | 0.42022 | 0.38124 | 0.33405 | 0.27425 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.52135 | 0 | 0.99896 | 0 | 0.99896 | 0 | 0.99896
610 | 0 | 0 | 0 | 0 | 1 | 0.99668 | 0.34527 | 0.38655 | 0.018929 |  | 0.54486 | 0.89893 | 0.26755 | 0.67837 | 0.29681 | 0.2562 | 0.21839 | 0.17642 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54486 | 0 | 0.99668 | 0 | 0.99668 | 0 | 0.99668
620 | 0 | 5 | 0 | 0 | 1 | 0.995 | 0.63193 | 0.28086 | 0.01575 |  | 0.57032 | 0.88481 | 0.22073 | 0.60962 | 0.24101 | 0.20177 | 0.1623 | 0.1182 | 0 | 0.68383 | 0 | 0 | 0.5725 | 0 | 0 | 0.4605 | 0 | 0 | 0.33539 | 0 | 0.57032 | 0 | 0.995 | 5 | 0.995 | 0 | 0.995
630 | 0 | 30 | 0 | 0 | 1 | 0.99123 | 0.88791 | 0.22924 | 0.020681 |  | 0.5958 | 0.87459 | 0.17486 | 0.52911 | 0.19806 | 0.16161 | 0.12377 | 0.082297 | 0 | 3.5091 | 0 | 0 | 2.8632 | 0 | 0 | 2.1929 | 0 | 0 | 1.4581 | 0 | 0.5958 | 0 | 0.99123 | 30 | 0.99123 | 0 | 0.99123
640 | 0 | 75 | 0 | 0 | 1 | 0.98565 | 0.97677 | 0.1974 | 0.026 |  | 0.61977 | 0.87046 | 0.14015 | 0.4504 | 0.17937 | 0.14464 | 0.1065 | 0.065815 | 0 | 8.2178 | 0 | 0 | 6.6269 | 0 | 0 | 4.8795 | 0 | 0 | 3.0153 | 0 | 0.61977 | 0 | 0.98565 | 75 | 0.98565 | 0 | 0.98565
650 | 0 | 85 | 0 | 0 | 1 | 0.97315 | 0.99783 | 0.17486 | 0.053184 |  | 0.64489 | 0.86398 | 0.10694 | 0.36856 | 0.17067 | 0.13573 | 0.097672 | 0.056118 | 0 | 9.1045 | 0 | 0 | 7.2402 | 0 | 0 | 5.2102 | 0 | 0 | 2.9936 | 0 | 0.64489 | 0 | 0.97315 | 85 | 0.97315 | 0 | 0.97315
660 | 0 | 90 | 0 | 0 | 1 | 0.95522 | 0.99783 | 0.17418 | 0.064404 |  | 0.66751 | 0.85577 | 0.0775 | 0.29275 | 0.16363 | 0.1282 | 0.090737 | 0.050037 | 0 | 9.3898 | 0 | 0 | 7.3571 | 0 | 0 | 5.207 | 0 | 0 | 2.8714 | 0 | 0.66751 | 0 | 0.95522 | 90 | 0.95522 | 0 | 0.95522
670 | 0 | 90 | 0 | 0 | 1 | 0.93423 | 0.99238 | 0.20312 | 0.075842 |  | 0.69144 | 0.79879 | 0.0557 | 0.22474 | 0.15469 | 0.12356 | 0.089158 | 0.051582 | 0 | 8.9931 | 0 | 0 | 7.1835 | 0 | 0 | 5.1833 | 0 | 0 | 2.9988 | 0 | 0.69144 | 0 | 0.93423 | 90 | 0.93423 | 0 | 0.93423
680 | 0 | 40 | 0 | 0 | 1 | 0.91125 | 0.99377 | 0.25309 | 0.082026 |  | 0.71537 | 0.72841 | 0.04 | 0.16782 | 0.14611 | 0.11897 | 0.089158 | 0.057931 | 0 | 3.8099 | 0 | 0 | 3.1021 | 0 | 0 | 2.3248 | 0 | 0 | 1.5106 | 0 | 0.71537 | 0 | 0.91125 | 40 | 0.91125 | 0 | 0.91125
690 | 0 | 0 | 0 | 0 | 1 | 0.88898 | 0.99309 | 0.3101 | 0.083883 |  | 0.73397 | 0.72285 | 0.03356 | 0.12414 | 0.13609 | 0.11281 | 0.088134 | 0.061782 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.73397 | 0 | 0.88898 | 0 | 0.88898 | 0 | 0.88898
700 | 0 | 0 | 0 | 0 | 1 | 0.86795 | 0.97076 | 0.35116 | 0.078524 |  | 0.74952 | 0.77271 | 0.026965 | 0.091244 | 0.12838 | 0.10719 | 0.086478 | 0.064091 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.74952 | 0 | 0.86795 | 0 | 0.86795 | 0 | 0.86795
710 | 0 | 0 | 0 | 0 | 1 | 0.84555 | 0.93704 | 0.36867 | 0.072873 |  | 0.7722 | 0.69781 | 0.015263 | 0.067669 | 0.12083 | 0.1052 | 0.087937 | 0.070411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7722 | 0 | 0.84555 | 0 | 0.84555 | 0 | 0.84555
720 | 0 | 0 | 0 | 0 | 1 | 0.82194 | 0.89765 | 0.36599 | 0.060458 |  | 0.78996 | 0.65057 | 0.01598 | 0.050946 | 0.11888 | 0.10528 | 0.092385 | 0.078216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78996 | 0 | 0.82194 | 0 | 0.82194 | 0 | 0.82194
730 | 0 | 0 | 0 | 0 | 1 | 0.79454 | 0.85565 | 0.36541 | 0.053181 |  | 0.81048 | 0.69406 | 0.012772 | 0.039347 | 0.1207 | 0.1111 | 0.098321 | 0.086691 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.81048 | 0 | 0.79454 | 0 | 0.79454 | 0 | 0.79454
740 | 0 | 0 | 0 | 0 | 1 | 0.76155 | 0.81312 | 0.37773 | 0.053181 |  | 0.82415 | 0.73158 | 0.013099 | 0.026757 | 0.13163 | 0.12021 | 0.10707 | 0.094009 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82415 | 0 | 0.76155 | 0 | 0.76155 | 0 | 0.76155
750 | 0 | 0 | 0 | 0 | 1 | 0.73287 | 0.78779 | 0.39412 | 0.054107 |  | 0.84187 | 0.66625 | 0.0036426 | 0 | 0.14561 | 0.13099 | 0.11611 | 0.10031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.84187 | 0 | 0.73287 | 0 | 0.73287 | 0 | 0.73287
760 | 0 | 0 | 5 | 0 | 1 | 0.70967 | 0.79762 | 0.41859 | 0.060423 |  | 0.85582 | 0.51371 | 0 | 0 | 0.15016 | 0.13738 | 0.1237 | 0.10952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.85582 | 0 | 0.70967 | 0 | 0.70967 | 0 | 0.70967
770 | 0 | 0 | 25 | 0 | 1 | 0.6851 | 0.80835 | 0.4448 | 0.094589 |  | 0.86856 | 0.66804 | 0 | 0 | 0.14704 | 0.13742 | 0.12774 | 0.11802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86856 | 0 | 0.6851 | 0 | 0.6851 | 0 | 0.6851
780 | 0 | 0 | 55 | 0 | 1 | 0.64738 | 0.81029 | 0.46605 | 0.17955 |  | 0.8841 | 0.67953 | 0 | 0 | 0.14038 | 0.13742 | 0.13217 | 0.1271 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8841 | 0 | 0.64738 | 0 | 0.64738 | 0 | 0.64738
790 | 0 | 0 | 75 | 0 | 1 | 0.60793 | 0.82047 | 0.47225 | 0.29998 |  | 0.89546 | 0.66068 | 0 | 0 | 0.13967 | 0.1383 | 0.13712 | 0.13474 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.89546 | 0 | 0.60793 | 0 | 0.60793 | 0 | 0.60793
800 | 0 | 0 | 85 | 0 | 1 | 0.57298 | 0.82837 | 0.47639 | 0.4383 |  | 0.91045 | 0.62691 | 0 | 0 | 0.14452 | 0.14544 | 0.14481 | 0.14495 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.91045 | 0 | 0.57298 | 0 | 0.57298 | 0 | 0.57298
810 | 0 | 0 | 90 | 5 | 1 | 0.54002 | 0.80205 | 0.47863 | 0.5182 |  | 0.91941 | 0.53691 | 0 | 0 | 0.15443 | 0.15438 | 0.15517 | 0.15805 | 0 | 0 | 0.38338 | 0 | 0 | 0.38324 | 0 | 0 | 0.38521 | 0 | 0 | 0.39237 | 0.91941 | 0 | 0.54002 | 0 | 0.54002 | 5 | 0.54002
820 | 0 | 0 | 90 | 15 | 1 | 0.50891 | 0.75152 | 0.47864 | 0.5259 |  | 0.92808 | 0.51366 | 0 | 0 | 0.16167 | 0.16222 | 0.16525 | 0.16765 | 0 | 0 | 1.1453 | 0 | 0 | 1.1493 | 0 | 0 | 1.1708 | 0 | 0 | 1.1877 | 0.92808 | 0 | 0.50891 | 0 | 0.50891 | 15 | 0.50891
830 | 0 | 0 | 35 | 40 | 1 | 0.4778 | 0.71571 | 0.46133 | 0.48554 |  | 0.94035 | 0.55777 | 0 | 0 | 0.1658 | 0.1676 | 0.17133 | 0.1746 | 0 | 0 | 2.9798 | 0 | 0 | 3.0121 | 0 | 0 | 3.0792 | 0 | 0 | 3.1379 | 0.94035 | 0 | 0.4778 | 0 | 0.4778 | 40 | 0.4778
840 | 0 | 0 | 5 | 70 | 1 | 0.44594 | 0.71117 | 0.4315 | 0.44414 |  | 0.94931 | 0.58834 | 0 | 0 | 0.16893 | 0.17147 | 0.17443 | 0.17849 | 0 | 0 | 5.006 | 0 | 0 | 5.0813 | 0 | 0 | 5.1691 | 0 | 0 | 5.2892 | 0.94931 | 0 | 0.44594 | 0 | 0.44594 | 70 | 0.44594
850 | 0 | 0 | 0 | 85 | 1 | 0.41468 | 0.70306 | 0.40701 | 0.42987 |  | 0.95697 | 0.59402 | 0 | 0 | 0.16868 | 0.17305 | 0.17682 | 0.18081 | 0 | 0 | 5.6896 | 0 | 0 | 5.8372 | 0 | 0 | 5.9642 | 0 | 0 | 6.0988 | 0.95697 | 0 | 0.41468 | 0 | 0.41468 | 85 | 0.41468
860 | 0 | 0 | 0 | 90 | 1 | 0.39104 | 0.67383 | 0.38683 | 0.42833 |  | 0.96288 | 0.58814 | 0 | 0 | 0.1747 | 0.17779 | 0.1816 | 0.18604 | 0 | 0 | 5.9199 | 0 | 0 | 6.0249 | 0 | 0 | 6.1538 | 0 | 0 | 6.3043 | 0.96288 | 0 | 0.39104 | 0 | 0.39104 | 90 | 0.39104
870 | 0 | 0 | 0 | 95 | 1 | 0.35909 | 0.63896 | 0.35996 | 0.41404 |  | 0.96901 | 0.57504 | 0 | 0 | 0.18144 | 0.18514 | 0.18833 | 0.19319 | 0 | 0 | 5.9979 | 0 | 0 | 6.1199 | 0 | 0 | 6.2255 | 0 | 0 | 6.3863 | 0.96901 | 0 | 0.35909 | 0 | 0.35909 | 95 | 0.35909
880 | 0 | 0 | 0 | 95 | 1 | 0.32408 | 0.61219 | 0.33369 | 0.37791 |  | 0.97796 | 0.5434 | 0 | 0 | 0.1873 | 0.19138 | 0.19554 | 0.2004 | 0 | 0 | 5.6394 | 0 | 0 | 5.7624 | 0 | 0 | 5.8875 | 0 | 0 | 6.0338 | 0.97796 | 0 | 0.32408 | 0 | 0.32408 | 95 | 0.32408
890 | 0 | 0 | 0 | 100 | 1 | 0.29676 | 0.59092 | 0.30488 | 0.33716 |  | 0.98239 | 0.50579 | 0 | 0 | 0.19066 | 0.19731 | 0.20177 | 0.20663 | 0 | 0 | 5.5585 | 0 | 0 | 5.7524 | 0 | 0 | 5.8824 | 0 | 0 | 6.024 | 0.98239 | 0 | 0.29676 | 0 | 0.29676 | 100 | 0.29676
900 | 0 | 0 | 0 | 95 | 1 | 0.26363 | 0.56604 | 0.27578 | 0.29923 |  | 0.98543 | 0.44716 | 0 | 0 | 0.19787 | 0.20196 | 0.20647 | 0.2121 | 0 | 0 | 4.8833 | 0 | 0 | 4.9843 | 0 | 0 | 5.0955 | 0 | 0 | 5.2346 | 0.98543 | 0 | 0.26363 | 0 | 0.26363 | 95 | 0.26363
910 | 0 | 0 | 0 | 95 | 1 | 0.24203 | 0.52974 | 0.25061 | 0.27107 |  | 0.98993 | 0.41753 | 0 | 0 | 0.20074 | 0.2051 | 0.20885 | 0.21518 | 0 | 0 | 4.5691 | 0 | 0 | 4.6683 | 0 | 0 | 4.7536 | 0 | 0 | 4.8976 | 0.98993 | 0 | 0.24203 | 0 | 0.24203 | 95 | 0.24203
920 | 0 | 0 | 0 | 90 | 1 | 0.22073 | 0.48859 | 0.22684 | 0.24013 |  | 0.99142 | 0.30238 | 0 | 0 | 0.20217 | 0.20516 | 0.21042 | 0.21674 | 0 | 0 | 3.9817 | 0 | 0 | 4.0407 | 0 | 0 | 4.1442 | 0 | 0 | 4.2686 | 0.99142 | 0 | 0.22073 | 0 | 0.22073 | 90 | 0.22073
930 | 0 | 0 | 0 | 85 | 1 | 0.19675 | 0.45718 | 0.19884 | 0.22038 |  | 0.99442 | 0.20433 | 0 | 0 | 0.20081 | 0.20368 | 0.20951 | 0.21595 | 0 | 0 | 3.3395 | 0 | 0 | 3.3873 | 0 | 0 | 3.4842 | 0 | 0 | 3.5914 | 0.99442 | 0 | 0.19675 | 0 | 0.19675 | 85 | 0.19675
940 | 0 | 0 | 0 | 80 | 1 | 0.17387 | 0.43965 | 0.16899 | 0.19423 |  | 0.99592 | 0.18823 | 0 | 0 | 0.19732 | 0.2019 | 0.20799 | 0.21513 | 0 | 0 | 2.7334 | 0 | 0 | 2.7969 | 0 | 0 | 2.8813 | 0 | 0 | 2.9802 | 0.99592 | 0 | 0.17387 | 0 | 0.17387 | 80 | 0.17387
950 | 0 | 0 | 0 | 70 | 1 | 0.15246 | 0.42724 | 0.14436 | 0.16966 |  | 0.99742 | 0.25432 | 0 | 0 | 0.19351 | 0.19888 | 0.20636 | 0.21436 | 0 | 0 | 2.0599 | 0 | 0 | 2.117 | 0 | 0 | 2.1966 | 0 | 0 | 2.2818 | 0.99742 | 0 | 0.15246 | 0 | 0.15246 | 70 | 0.15246
960 | 0 | 0 | 0 | 60 | 1 | 0.13605 | 0.40783 | 0.13036 | 0.14896 |  | 0.99742 | 0.32164 | 0 | 0 | 0.19066 | 0.1956 | 0.20477 | 0.21433 | 0 | 0 | 1.5524 | 0 | 0 | 1.5925 | 0 | 0 | 1.6672 | 0 | 0 | 1.745 | 0.99742 | 0 | 0.13605 | 0 | 0.13605 | 60 | 0.13605
970 | 0 | 0 | 0 | 55 | 1 | 0.12147 | 0.37658 | 0.11361 | 0.12985 |  | 0.99742 | 0.37425 | 0 | 0 | 0.18309 | 0.19265 | 0.20242 | 0.21351 | 0 | 0 | 1.22 | 0 | 0 | 1.2837 | 0 | 0 | 1.3488 | 0 | 0 | 1.4227 | 0.99742 | 0 | 0.12147 | 0 | 0.12147 | 55 | 0.12147
980 | 0 | 0 | 0 | 45 | 1 | 0.10398 | 0.34727 | 0.09735 | 0.11275 |  | 0.99742 | 0.41845 | 0 | 0 | 0.17831 | 0.18875 | 0.20078 | 0.21194 | 0 | 0 | 0.83217 | 0 | 0 | 0.88087 | 0 | 0 | 0.93703 | 0 | 0 | 0.98913 | 0.99742 | 0 | 0.10398 | 0 | 0.10398 | 45 | 0.10398
990 | 0 | 0 | 0 | 40 | 1 | 0.08593 | 0.31852 | 0.082861 | 0.096392 |  | 0.99592 | 0.44922 | 0 | 0 | 0.17202 | 0.18478 | 0.19714 | 0.2096 | 0 | 0 | 0.58886 | 0 | 0 | 0.63255 | 0 | 0 | 0.67485 | 0 | 0 | 0.71752 | 0.99592 | 0 | 0.08593 | 0 | 0.08593 | 40 | 0.08593
1000 | 0 | 0 | 0 | 35 | 1 | 0.071064 | 0.29202 | 0.067 | 0.077771 |  | 0.99592 | 0.44878 | 0 | 0 | 0.16422 | 0.17882 | 0.19231 | 0.20593 | 0 | 0 | 0.40679 | 0 | 0 | 0.44296 | 0 | 0 | 0.47638 | 0 | 0 | 0.51011 | 0.99592 | 0 | 0.071064 | 0 | 0.071064 | 35 | 0.071064